| Prepared By (“DSR”): | Prepared For (“Client”): |
| --- | --- |

CONTAINER LOADING MONITORING REPORT

For

PV Modules

| Client | : Resolven Private Ltd. |
| --- | --- |
| Project Name | : Ganeko Two Energy Private Ltd. |
| SPV Name | : Solapur Ganeko One Energy Private Ltd. - Shell - 22.9 MWp Solar |

| Report No. | : DSR-CLC-RES-2026-10-11 |
| --- | --- |
| Report Date | : 11.10.2026 |
| Manufacturer | : Premier Energies Global Environment Private Ltd. |
| Location | : SY. N:1663 TO 1673, UDL 5/Part, Seetharampur, Telangana 509217 |
| Workshop | : P7 |

TABLE OF CONTENTS

- INSPECTION SUMMARY

- General Information

- Conclusion

- Report Signatories

- REPORT SUMMARY

- Containers’ details

- CONTAINER LOADING MONITORING REPORT

- Container Number 1

- Container Number 2

- Container Number 3

- Container Number 4

- Container Number 5

- Container Number 6

- Container Number 7

- Container Number 8

- Container Number 9

- Container Number 10

- Container Number 11

- Container Number 12

- Container Number 13

- Container Number 14

- Container Number 15

- Container Number 16

- Container Number 17

- Container Number 18

- Container Number 19

- Container Number 20

- Container Number 21

- Container Number 22

- Container Number 23

- Container Number 24

- Container Number 25

- INSPECTION SUMMARY

- General Information

| Date of Loading | Product Type | PSI Lot | No. of Containers |  | No. of Modules |  | Total Capacity (MWp) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Total | 615 Wp | Total | 615 Wp |  |
| 08-10-2026 | PE-132-615THGB-G12R | 1 | 13 | 13 | 8060 | 8060 | 4.95690 |
| 09-10-2026 | PE-132-615THGB-G12R | 1, 2 | 8 | 8 | 4960 | 4960 | 3.05040 |
| 10-10-2026 | PE-132-615THGB-G12R | 2 | 4 | 4 | 2046 | 2046 | 1.25829 |
| Total | PE-132-615THGB-G12R |  | 25 | 25 | 15066 | 15066 | 9.26559 |

- Conclusion

INSPECTION CONCLUSION

PASS

- Report Signatories

| PREPARED BY | PROJECT ENGINEER |  |
| --- | --- | --- |
| REVIEWED BY | REPORT AUDITOR |  |
| APPROVED BY | TECHNICAL MANAGER |  |

- REPORT SUMMARY

1. Containers’ Details

| No. | Containers No. | Product Type | Pallet/Box No. | Nominal Power | Current Class | Module Quantity (Pcs) | Container Size | Date of Loading |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | MH23AU4257 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 2 | MH46DC9657 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 3 | MH46DC7279 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 4 | MH23AU2804 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 5 | MH23AU1350 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 6 | MH23AU1628 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 7 | MH23AU2457 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 8 | MH46CL4623 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 9 | MH23AU4151 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 10 | MH16DP5267 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 11 | MH16DP8377 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 12 | MH46DC2777 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 13 | MH20EG9416 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 08.10.2026 |
| 14 | MH46DC6448 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 09.10.2026 |
| 15 | MH46BB7315 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 09.10.2026 |
| 16 | MH46CL3237 | PE-132-615THGB-G12R | List Attached | 615 | I1 | 620 | 40FT HQ | 09.10.2026 |
| 17 | MH16CD9214 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 09.10.2026 |
| 18 | MH23AU7716 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 09.10.2026 |
| 19 | MH20GC3716 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 09.10.2026 |
| 20 | MH46BU9292 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 09.10.2026 |
| 21 | MH46H5223 | PE-132-615THGB-G12R | List Attached | 615 | I1 | 620 | 40FT HQ | 09.10.2026 |
| 22 | MH46BU3210 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 620 | 40FT HQ | 10.10.2026 |
| 23 | MH20EL0288 | PE-132-615THGB-G12R | List Attached | 615 | I1 | 620 | 40FT HQ | 10.10.2026 |
| 24 | MH14KQ5656 | PE-132-615THGB-G12R | List Attached | 615 | I2 | 372 | 40FT HQ | 10.10.2026 |
| 25 | MH46BU7742 | PE-132-615THGB-G12R | List Attached | 615 | I1, I3 | 434 | 40FT HQ | 10.10.2026 |

- CONTAINER LOADING MONITORING REPORT

- Container Number 1

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH23AU4257 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 08.10.2026 17:15 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 2

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46DC9657 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 09.10.2026 00:15 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 3

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46DC7279 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 08.10.2026 22:15 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 4

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH23AU2804 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 08.10.2026 22:45 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 5

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH23AU1350 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 08.10.2026 22:25 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 6

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH23AU1628 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 08.10.2026 17:25 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 7

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH23AU2457 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 08.10.2026 17:20 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 8

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46CL4623 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 08.10.2026 17:10 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 9

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH23AU4151 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 09.10.2026 00:10 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 10

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH16DP5267 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 08.10.2026 23:00 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 11

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH16DP8377 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 09.10.2026 04:05 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 12

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46DC2777 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 09.10.2026 04:00 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 13

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH20EG9416 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 09.10.2026 11:30 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 14

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46DC6448 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 09.10.2026 22:55 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 15

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46BB7315 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 01:50 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 16

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46CL3237 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 01:30 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 17

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH16CD9214 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 01:35 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 18

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH23AU7716 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 06:45 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 19

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH20GC3716 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 06:50 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 20

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46BU9292 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 01:40 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 21

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46H5223 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 01:45 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 22

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46BU3210 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 17:50 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 23

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH20EL0288 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 17:40 |
| Container Loading Status | Fully Loaded | No. of Products | 620 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 20 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 620 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Fully Loaded Container | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 24

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH14KQ5656 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 16:00 |
| Container Loading Status | Partial Loaded | No. of Products | 372 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 12 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 372 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Loaded Container (Partially) | Packing List |
| Invoice And Out Time | Container Closing |

- Container Number 25

Shipment Details

| Warehousing Site | Internal Warehouse | Truck Plate Number | MH46BU7742 |
| --- | --- | --- | --- |
| Container Type | Open | Time of Truck Departure | 10.10.2026 16:10 |
| Container Loading Status | Partial Loaded | No. of Products | 434 |
| Module Position in Pallet | Vertical | No. of Full Pallets | 14 |
| Seal Number | N/A | Number of Partially filled Pallets | 0 |

Summary of Inspection

| Inspection Result | PASS | Inspection Quantity | 434 Pcs |
| --- | --- | --- | --- |
| No. of Non-Conformity | Nil | Weather Conditions | OK |
| Observation | Nil | Storage Conditions | OK |
| Pallet Type | Wooden | Packing Quality | OK |
| Pallet Dimension (mm) | 2405*1142*134 | Loading Quality | OK |
| Pallet Volume (m3) | 0.36791426 | Validation of Packing List | OK |
| Instruction Manual | On Carton Box | Outgoing Quality Control | OK |
| Module Dimension (mm) | 2382*1134*35 | Shock Label Validations (if applicable) | No |

Photographic Records of Inspection

| Vehicle Number | Empty Container |
| --- | --- |
| Part 1- Loading Process | Part 2- Loading Process |
| Part 3- Loaded Container (Partially) | Packing List |
| Invoice And Out Time | Container Closing |